## Slide 1: Cheap is good
If we can reduce the price of admission…
We will expand the uWave community
Many hams (good engineers) stay away from uWaves
  Don’t like to guess or shoot in the dark
  Test equipment is expensive
Reduce the cost of test equipment  more folks
Reduce the cost of the rigs  more folks

## Slide 2: Dispel Faulty Notions
Chinese stuff is NOT crap
eBay is NOT a shoddy marketplace
  eBay + Paypal is the safest way to buy
If you stay away – you are missing out on some good stuff

## Slide 3: Interesting Function Modules
From China (mostly)
Via eBay – Amazon, Aliexpress, Taobao
Free shipping – no min order
Started simple  increasing complexity

## Slide 4: Recurring Theme
Semiconductor Cos doing the heavy lifting
Makes an interesting analog chip
Mostly AD, LTC and Quervo (RFMD & Triquint)
Somebody puts that chip on a board
Add uController and display
Assembled, tested, delivered
Price < ones twosy price for the chip

## Slide 5: Application Engineers
Basically acting as App Engineers
Designs are frequently the exact application circuit recommended by chip maker – sometimes even layout
Reference designs

## Slide 6: Pay attention to the chip
Reputable chips  modules meet specs
Approach chips from Chinese companies with some caution
Some Chinese chips are ok
Some don’t meet their own specs
RF designs have been spot on
Power supplies: some specsmanship

## Slide 7: 28 volts for relays for $.75 (switching)

## Slide 8: 300 Watts 20 A Buck for $10 (switching)

## Slide 9: 30 Watts Buck for $5 with DVM (switching)

## Slide 10: I prefer China – others are no better, just more expensive

## Slide 11: I prefer China – others are no better, just more expensive

## Slide 12: Actually, it’s better

## Slide 13: Even comes with Characterization

## Slide 14: By the dozen

## Slide 15: LDO also

## Slide 16: Not just DC/DC

## Slide 17: Buy it when you find it

## Slide 18: Noise Floor? (ON)

## Slide 19: Noise Floor? (OFF)

## Slide 20: Audio Power Amps

## Slide 21: Audio Power Amps

## Slide 22: Audio Power Amps

## Slide 23: Many sellers – many prices

## Slide 24: LNAs Up to 4 Gig NF < 0.6 @ 1 GHz, NF <1.0 @ 2.2 GHz

## Slide 25: Shielded

## Slide 26: Enclosed

## Slide 27: Digital Voltmeter

## Slide 28: Digital Voltmeter – panel mount

## Slide 29: Precision Voltage Reference 2.5, 5, 7.5, 10 volts AD584: 0.1% & 15ppm

## Slide 30: Noise Source Up to 6 GHz – others to 10GHz +

## Slide 31: Noise Source Spectrum to 150 MHz (w/ atten)

## Slide 32: Noise Source Spectrum to 2.5 GHz (33 db atten)

## Slide 33: Signal Source Antenna Range…

## Slide 34: Characterize Filters Before the filter

## Slide 35: After 2.6 MHz High Pass filter

## Slide 36: Bandpass filter: 118 – 136 MHz

## Slide 37: RTL-SDR V3 dongle Pretty good spectrum Analyzer
500 kHz to 1.76 GHz
Only 2.4 MHz instantaneously displayed
$20
Can characterize filters up to 1.76 GHz with:
  $15 noise source
  $20 RTL-SDR

## Slide 38: Power Meter 1 MHz – 10 GHz: $33

## Slide 39: How Good?

## Slide 40: With coax loss on HP435

## Slide 41: Damn Good – 2 meters

## Slide 42: Damn Good – 2 meters

## Slide 43: How about 10 GHz?

## Slide 44: How about 10 GHz?

## Slide 45: Damn good at 10 GHz

## Slide 46: Enter an offset

## Slide 47: Enter an offset

## Slide 48: 50 MHz Counter: $4.30

## Slide 49: Be careful about shipping

## Slide 50: Same unit – reasonable shipping

## Slide 51: Even Cheaper
Shop a bit – check it out – pick your vendor

## Slide 52: 65 MHz Counter: $8

## Slide 53: 1.1 GHz Counter: $10

## Slide 54: Difference in size…

## Slide 55: Up to 2.4 GHz: $9.59

## Slide 56: Go crazy for $82

## Slide 57: 3 watt RF Amp - 2 to 700 MHz: $15

## Slide 58: 1W 6GHz Variable Attenuator: $24

## Slide 59: CW Keyer

## Slide 60: GPS Reference Freq. Std – 10 MHz

## Slide 61: NanoVNA – 50 kHz to 900 Mhz

## Slide 62: NanoVNA
Be careful about choice of vendor – US is preferred
Must include:
  Battery
  Shielding
  Cal standards
  Coax jumper
Pay $45 to $50 delivered – more is NOT better
There are scams at $20
Higher priced units are not any better

## Slide 63: NanoVNA
Very good device – not a toy
Recognize it as an inspired design
  I’d invest – but no
Well supported – routine firmware upgrades
User guides suck – ZL1SCI is best
Developers are available online
Cal standards are good enough
  Except – must add SMA female – female adapters
  Be careful of the included SMA f-f adapter
    Early ones have 1 db loss at 900 MHz (delrin)
    Edd555 now shipping PTFE units (<0.1 db)
3D printed plastic enclosures available, but may not fit

## Slide 64: NanoVNA
Immediately join the Nanovna group on groups.io
  Direct communications with hardware and firmware developers
  Lots of tips
  Wiki
  Files
Join the Facebook group “MiniVNA Tiny & NanoVNA”
Good YouTube videos – “look for IMSAI guy” and “Joe Smith”

## Slide 65: NanoVNA-H history
Been coming since 2006
Derived from earlier designs including the VNWA from Professor Thomas Baier DG8SAQ
A kit designed by edy555 only available in Japan
Commercialized by hugen (Chinese) Nanovna-H
Open source HW and FW
Several vendors
Many sellers: eBay, Amazon, Aliexpress, Taobao
  Prices and completeness vary

## Slide 66: Schematic

## Slide 67: NanoVNA Fits the model
Interesting chip is the SI5351
+ uController (STM32F072CBT6)
+ Display
Small number of support circuitry

## Slide 69: NanoVNA – F

## Slide 70: NanoVNA – F
4.3” screen, Al case
$123
Designed and produced by BH5HNU
Not so clearly open source
Different Firmware, uses an RTOS
Great support from designer plus its own groups.io
Serious attempt to remain compatible – PC software
Customers like it

## Slide 71: NanoVNA–H: V2
In board layout
Available in a couple more months
Same price point, same screen size
Up to at least 3.5GHz, more dynamic range
Uses the ADF4350
One mixer + switch vs. 3 mixers
Drops the codec – 12 bit uController A/Ds
Expect it will be a big deal
May begin to set the world on fire

## Slide 72: NanoVNA-saver PC Software
Use Nanovna-saver
Rune Broberg 5Q5R
GREAT support and VERY responsive
HW does 101 point
SW strings segments together
Average measurements, discards
TDR

## Slide 73: 2.6 MHz High Pass (RTL-SDR)

## Slide 74: FM BC Notch

## Slide 75: NanoVNA-saver

## Slide 76: NanoVNA-saver

## Slide 77: NanoVNA-saver Sweep Settings
TERRIFIC

## Slide 78: Signal Source 250Mhz – 13.6 Ghz

## Slide 79: 10 gig rig

## Slide 80: RF Zero - $55 delivered
Multi-purpose GPS locked RF Unit. Can be a beacon, signal generator, VFO, GPSDO. Arduino compatible. Already used for CW, FT4, FT8, Js8, JT9, WSPR, etc.

## Slide 82: Easy setup with Terminal Program

## Slide 83: 2 meter Beacon
Based on RF zero and AB5N code (CW & FT8)
Add filters, Power Amp, power supply
1 to 25 watts output
Only remote control is ON/OFF
Use A/D inputs to measure Forward & Reflected Power
Reduce power when SWR > 2.0
  Will reduce as much as 12 db in software
  Can also shutdown the Power Amp
Modify code to add Power/SWR to beacon msg
  WY6K EM13QB 9w/1.4

## Slide 88: Little Brother: ADF4351 4.5 GHz for $58